NEW MEXICO OIL CONSERVATION DIVISION

DISTRICT 2 OFFICE

811 SOUTH FIRST STREET

ARTESIA, NM 88210

(575)748-1283

OF APPROVAL for FLARING or VENTING GAS

1. Venting gas is absolutely not allowed.

2. Prior to flaring gas, C-129 must be filed & approved. Blanket approval cannot be given for this operation.

3. Flared volumes of gas are to be metered & reported.

4. Flares WILL be manned at all times. Brush should be cut down to 1 or 2 inches around flare stack at least a radial distance of 2 times the height of the flare stack.

5. Flares WILL NOT be left unattended.

6. No flaring operations to be conducted during red-flag days.

http://www.gacc.nifc.gov/swcc (go to "Predictive Services" on SWCC website) to check for red flag warnings.

7. Follow safe practices for flaring guidelines.

8. Permit may be rescinded at any time by NMOCD.

9. If well is able to be connected to a gas gathering system, it will be done so as soon as possible.

10. Flaring of gas is prohibited. The State Forester grants an exception to the prohibition on open fires for the flaring of natural gas when the following conditions are met. Unless flaring is needed for safety purposes, flaring pursuant to this exception shall not be done on days that are "red flag days" as determined by the National Weather Service or on days when the sustained wind is in excess of 25 miles per hour in the area.

11.1. The day is not a "red flag day" as determined by the National Weather Service and the sustained wind is not in excess of 25 miles per hour in the area.

12.2. The local fire department and county dispatch are notified at least 24 hours in advance of anticipated releases that will result in flaring. If flaring is done by an automated system then the schedule of flaring shall be provided to the local fire department and county dispatch. The area is mowed and maintained at a length not to exceed 4 inches and all other flammable products or debris shall be cleared in the area for a distance of one and one half times the height of the stack.

13.3. At least one adult is on site with communications equipment adequate to reach county dispatch and the local fire department in the event of a fire. The individual should also be equipped with a shovel and a water backpack pump or other equipment to deliver water to suppress a fire

14.4. If flaring is to take place at an unmanned facility, then the area around the flare stack is mowed and maintained at a length not to exceed 4 inches and all other flammable products or debris shall be cleared in the area for a distance of three times the height of the stack.

Your initials here SD

DATE: 7/30/05