NEW MEXICO OIL CONSERVATION DIVISION

DISTRICT 2 OFFICE

811 SOUTH FIRST STREET

ARTESIA, NM 88210

(575)748-1283

CONDITIONS OF APPROVAL for FLARING or VENTING GAS

1. Venting gas is absolutely not allowed.

2. Prior to flaring gas, C-129 must be filed & approved. Blanket approval cannot be given for this operation.

3. Flared volumes of gas are to be metered & reported.

4. Flares WILL be manned at all times. Brush should be cut down to 1 or 2 inches around flare stack at least a radial distance of 2 times the height of the flare stack.

5. Flares WILL NOT be left unattended.

6. No flaring operations to be conducted during red-flag days.

http://www.gacc.nifc.gov/swcc (go to "Predictive Services" on SWCC website) to check for red flag warnings.

7. Follow safe practices for flaring guidelines.

8. Permit may be rescinded at any time by NMOCD.

9. If well is able to be connected to a gas gathering system, it will be done so as soon as possible.

Your initials here AD

10 6M 2011